n

Name: _____________________________________________

Company: __________________________________________

- What's the compression ratio of the single stage compressor below?

  - 13.5 psia inlet pressure

  - 113.5 discharge pressure

- What are some problems you are experiencing related to your compressed air system? (Examples are on the next page.)

Examples

- We need to improve the reliability of the compressed air system in supporting manufacturing operations.

- Production interruptions occur which are a result of poor compressed air system performance; we need to minimize production downtime.

- Product quality is being affected by poor compressed air system performance; we need to reduce our scrap rate.

- Our automated equipment, which is operated by compressed air, will not achieve its full capacity throughput: we need to know if this is a compressed air related issue.

- We are expanding our production facility and consequently need to expand our existing compressed air system to accommodate the new flows; we want to know if our existing compressors can handle it.

- We are replacing older air compressors and want to investigate new more efficient-type compressors; we want to improve system efficiency and reduce energy costs.

- We have recently eliminated production equipment which used compressed air, but the compressors are still using the same energy as before: we need to reduce the compressed air demand.

- Low pressure occurs on a system wide basis and occasionally impacts production.

- Low pressure occurs on a localized basis (point of use).

- Pressure fluctuations frequently occur; we need to maintain more stable air pressure.

- We have water in the compressed air lines; we need to maintain acceptable compressed air quality delivered to our end uses.

- Oil in the compressed air lines is contaminating our end product.