Date last modified/updated: ENTER DATE		Internal audit: Click here to enter a date.

Who last modified/updated: ENTER NAME            	Management review: Click here to enter a date.

This part of the Navigator Playbook is completed when you have:

- Identified the energy uses that consume the most energy within your boundaries.

- Identified factors and persons that affect the energy consumption of identified energy uses.

- Established selection criteria for identifying which of these energy uses should be a significant energy use (SEU).

- Determine SEU energy performance based upon energy consumption and relevant variables as appropriate.

- Review the SEU selection criteria as part of the SEU update process.

EXAMPLE

- Identify the energy uses that consume the most energy within your boundaries.

- Identify factors and persons that affect the energy consumption of identified energy uses.

Complete columns 3 and 4 in the Energy Use table in the 50001 Ready Navigator Playbook Worksheet 8 -Energy Data Collection and Analysis.

- Establish selection criteria for identifying which of these energy uses should be a significant energy use (SEU).

We have established criteria for determining SEUs.

Detail criteria below:

See tab 7_SEUs on the Energy Mapping Template file. Criteria scored to rank SEUs includes level of energy consumption and potential for improvement. Top three were chosen to be SEUs.

We have established methods for determining SEUs

Detail methods below:

See tab 6_Two Key Pies and tab 7_SEUs on the Energy Mapping Template file. Also use benchmarking information for typical similar commercial sites.

SEUs have been identified, along with current performance and associated responsible personnel

We have identified and listed these relevant variables in the table below:

- Determine SEU energy performance based upon energy consumption and relevant variables as appropriate.

| SEU Name | Criteria for Selection | Relevant Variable(s) | Current Energy Performance Estimate | Projected Energy consumption (2021) | Personnel responsible |
| --- | --- | --- | --- | --- | --- |
| Building/ Equipment Cooling & Refrigeration | #1 Energy consumer and good opportunity for improvements | CDD Relative Humidity | 1,501,025 MMBTU/year | 1,400,000 MMBTU/year | Jane Watts |
| Building / Water Heating | #2 Energy consumer and good opportunity for improvements | HDD | 1,271,315 MMBTU/year | 1,100,000 MMBTU/year | N.R. Gee |
| Lighting | #3 Energy consumer and excellent opportunity for improvements | Occupancy (potentially, not confirmed) | 363,151 MMBTU/year | 347,000 MMBTU/year | Andy Volta |

|  | Date entered: | ENTER DATE |
| --- | --- | --- |
|  | Who entered? | ENTER NAME |
|  | Who reviewed? | ENTER NAME |

- Review the SEU selection criteria as part of the SEU update process.

We have established a procedure for continually reviewing relevant variables at regularly scheduled intervals, along with responsible personnel.

SITE is essentially like a good-sized city. Most of the energy loads are like those of commercial buildings of various types. Sub-metered energy data from the Central Energy Plants and Sandhills Utilities is used to predict site-wide heating and cooling loading. For other loads commercial segment benchmarking information is used. This process is completed within the Energy Mapping template.

Developed a system for monitoring performance of SEUs

We use the Energy Mapping template to monitor, update, review and verify SEU selection.

Assigned roles and responsibilities for monitoring SEUs

Energy Team Leader – Lead and oversee

REMs – Technical review of data and Energy Mapping Template

Central Energy Plant contractor: Honeywell – electrical and natural gas sub-metering data for central energy plants, and operation and maintenance of chillers and boilers

DPW HVAC Maintenance Techs – Operation and maintenance of chillers and boilers

Established a regular schedule for monitoring SEUs

Periodic review quarterly at Energy Team meetings

Full annual refresh and review using the Energy Mapping template

Top Management Review

|  | Date reviewed: | Click here to enter a date. |
| --- | --- | --- |
|  | Who reviewed? | Click here to enter text. |

Comments

Excel spreadsheet file for the Energy Mapping Template is key to this playbook.

| Document Owner: | Enter NAME / TITLE of Owner |  |
| --- | --- | --- |
| Change Date: | Change Description: | Approval: |
| Enter Issue Date | Initial draft issue for review | Owner Initials |